## Pipes and Fittings
[8 empty] | Pipe Ø20 | Pipe Ø25 | Pipe Ø32 | Pipe Ø40 | Pipe Ø50 | Pipe Ø63 | Pipe Ø75 | Pipe Ø90 | Pipe Ø110 | Pipe Ø125 | Pipe Ø160 | Pipe Ø200 | Pipe Ø250 | Clip Ø20 | Clip Ø25 | Clip Ø32 | Clip Ø40 | Clip Ø50 | Clip Ø63 | Clip Ø75 | Clip Ø90 | Clip Ø110 | Clip Ø125 | Clip Ø160 | Clip Ø200 | Clip Ø250 | Socket Fusion Ø20 | Socket Fusion Ø25 | Socket Fusion Ø32 | Socket Fusion Ø40 | Socket Fusion Ø50 | Socket Fusion Ø63 | Socket Fusion Ø75 | Socket Fusion Ø90 | Socket Fusion Ø110 | Socket Fusion Ø125 | Butt Weld SDR11 Ø160 | Butt Weld SDR11 Ø200 | Butt Weld SDR11 Ø250 | Butt Weld SDR7.4 Ø160 | Butt Weld SDR7.4 Ø200 | Butt Weld SDR7.4 Ø250 | Electrofusion Socket Ø20 | Electrofusion Socket Ø25 | Electrofusion Socket Ø32 | Electrofusion Socket Ø40 | Electrofusion Socket Ø50 | Electrofusion Socket Ø63 | Electrofusion Socket Ø75 | Electrofusion Socket Ø90 | Electrofusion Socket Ø110 | Electrofusion Socket Ø125 | Electrofusion Socket Ø160 | Threaded Connection 1/2" | Threaded Connection 3/4" | Threaded Connection 1" | Threaded Connection 1.1/4" | Threaded Connection 1.1/2" | Threaded Connection 2" | Threaded Connection 2.1/4" | Threaded Connection 2.1/2" | Threaded Connection 2.3/4" | Threaded Connection 3" | Threaded Connection 3.1/2" | Threaded Connection 4" | Flanged Connection Ø32 (DN25) | Flanged Connection Ø40 (DN32) | Flanged Connection Ø50 (DN40) | Flanged Connection Ø63 (DN50) | Flanged Connection Ø75 (DN65) | Flanged Connection Ø90 (DN80) | Flanged Connection Ø110 (DN100) | Flanged Connection Ø125 (DN125) | Flanged Connection Ø160 (DN150) | Flanged Connection Ø200 (DN200) | Flanged Connection Ø250 (DN250) | Weld in Saddle Ø20 & Ø25 | Weld in Saddle Ø32 | Weld in Saddle Ø40 | Weld in Saddle Ø50 | Weld in Saddle Ø63
Group |  | Total hours |  | aquatherm Australia Pty Limited
Pipes |  | 0
Socket Fusion joints |  | 0
Butt Welded SDR11 joints |  | 0
Butt Welded SDR7.4 joints |  | 0
Electrofusion Sockets |  | 0 |  | Ecological pipe systems: just say yes to a better world!
Threaded Connections |  | 0
Flanged Connections |  | 0
Weld in Saddles |  | 0
Clips |  | 0 |  | Project: | Example
Total (1) man hours |  | 0
Art.-No. | Dimension | Packing unit m/pc |  | Only the green cells can be edited |  |  | mtr / pc
Many pipe manufacturers use the "Standard Dimension Ratio" - SDR - method of rating pressure piping.
The SDR is the ratio of the pipe diameter to the wall thickness.
The SDR can be expressed as:
|  |  | SDR = D/s | D = pipe outside diameter [mm]
s = pipe wall thickness [mm]
SDR 11 means that the outside diameter - D - of the pipe is eleven times the thickness - s - of the wall.
With a high SDR ratio, the pipe wall is thin compared to the pipe diameter.
With a low SDR ratio, the pipe wall is thick compared to the pipe diameter.
As a consequence a high SDR pipe has a low-pressure rating and low SDR pipe has a high-pressure rating.
aquatherm green, lilac & blue pipes
aquatherm green pipe SDR11 S |  |  |  | Main application: Cold Drinking & R.O. water
Art.-No. | Dimension | Packing unit
10208 | 20 x 1,9 mm | 100 | [5 empty] | 0
10210 | 25 x 2,3 mm | 100 | [6 empty] | 0
10212 | 32 x 3,0 mm | 40 | [7 empty] | 0
10214 | 40 x 3,7 mm | 40 | [8 empty] | 0
10216 | 50 x 4,6 mm | 20 | [9 empty] | 0
10218 | 63 x 5,8 mm | 20 | [10 empty] | 0
10220 | 75 x 6,8 mm | 20 | [11 empty] | 0
10222 | 90 x 8,2 mm | 12 | [12 empty] | 0
10224 | 110 x 10,0 mm | 8 | [13 empty] | 0
10226 | 125 x 11,4 mm | 4 | [14 empty] | 0
10230 | 160 x 14.3 mm | 5.8 | [15 empty] | 0
10234 | 200 x 18.2 mm | 5.8 | [16 empty] | 0
10238 | 250 x 22.7 mm | 5.8 | [17 empty] | 0
10308 | *20 x 1,9 mm* | 100 | [5 empty] | 0
10310 | *25 x 2,3 mm* | 100 | [6 empty] | 0
10312 | *32 x 2,9 mm* | 50 | [7 empty] | 0
aquatherm green pipe SDR7,4 MF |  |  |  | Main application: Hot Drinking & R.O. water
Art.-No. | Dimension | Packing unit
70708 | 20 x 2,8 mm | 100 | [5 empty] | 0
70710 | 25 x 3,5 mm | 100 | [6 empty] | 0
70712 | 32 x 4,4 mm | 40 | [7 empty] | 0
70714 | 40 x 5,5 mm | 40 | [8 empty] | 0
70716 | 50 x 6,9 mm | 20 | [9 empty] | 0
70718 | 63 x 8,6 mm | 20 | [10 empty] | 0
70720 | 75 x 10,3 mm | 20 | [11 empty] | 0
70722 | 90 x 12,3 mm | 12 | [12 empty] | 0
70724 | 110 x 15,1 mm | 8 | [13 empty] | 0
70726 | 125 x 17,1 mm | 8 | [14 empty] | 0
70730 | *160 x 21.9 mm* | 5.8 | [15 empty] | 0
70734 | *200 x 27.4 mm* | 5.8 | [16 empty] | 0
70738 | *250 x 34.2 mm* | 5.8 | [17 empty] | 0
aquatherm lilac pipe SDR11 |  |  |  | Main application: Recycled / Reclaimed water
Art.-No. | Dimension | Packing unit
9010808 | 20 x 1,9 mm | 100 | [5 empty] | 0
9010810 | 25 x 2,3 mm | 100 | [6 empty] | 0
9010212 | 32 x 2,9 mm | 40 | [7 empty] | 0
9010214 | 40 x 3,7 mm | 40 | [8 empty] | 0
9010216 | 50 x 4,6 mm | 20 | [9 empty] | 0
9010218 | 63 x 5,8 mm | 20 | [10 empty] | 0
9010220 | 75 x 6,8 mm | 20 | [11 empty] | 0
9010222 | 90 x 8,2 mm | 12 | [12 empty] | 0
9010224 | 110 x 10,0 mm | 8 | [13 empty] | 0
9010226 | 125 x 11,4 mm | 4 | [14 empty] | 0
9010230 | 160 x 14.6 mm | 5.8 | [15 empty] | 0
9010234 | 200 x 18.2 mm | 5.8 | [16 empty] | 0
9010236 | 250 x 22.7 mm | 5.8 | [17 empty] | 0
aquatherm blue pipe SDR7,4 MF / SDR11 MF |  |  |  | Main application: Mechanical (HVAC, Compressed air)
Art.-No. | Dimension | Packing unit
2070708 | 20 x 2,8 mm | 100 | [5 empty] | 0
2070710 | 25 x 3,5 mm | 100 | [6 empty] | 0
2070112 | 32 x 2,9 mm | 40 | [7 empty] | 0
2070114 | 40 x 3,7 mm | 40 | [8 empty] | 0
2070116 | 50 x 4,6 mm | 20 | [9 empty] | 0
2070118 | 63 x 5,8 mm | 20 | [10 empty] | 0
2070120 | 75 x 6,8 mm | 20 | [11 empty] | 0
2070122 | 90 x 8,2 mm | 12 | [12 empty] | 0
2070124 | 110 x 10,0 mm | 8 | [13 empty] | 0
2070126 | 125 x 11,4 mm | 4 | [14 empty] | 0
2070130 | 160 x 14.6 mm | 5.8 | [15 empty] | 0
2070134 | 200 x 18.2 mm | 5.8 | [16 empty] | 0
2070138 | 250 x 22.7 mm | 5.8 | [17 empty] | 0
Aquatherm pipe clamps
Pipe clamps for aquatherm pipes
Art.-No. | Dimension | Packing unit
60516 | 16 mm | 50
60520 | 20 mm | 50 | [18 empty] | 0
60525 | 25 mm | 50 | [19 empty] | 0
60532 | 32 mm | 50 | [20 empty] | 0
60540 | 40 mm | 50 | [21 empty] | 0
60550 | 50 mm | 50 | [22 empty] | 0
60563 | 63 mm | 25 | [23 empty] | 0
60575 | 75 mm | 25 | [24 empty] | 0
60590 | 90 mm | 25 | [25 empty] | 0
60594 | 110 mm | 25 | [26 empty] | 0
60595 | 125 mm | 25 | [27 empty] | 0
60597 | 160 mm | 25 | [28 empty] | 0
60650 | 200 mm | 1 | [29 empty] | 0
60654 | 250 mm | 1 | [30 empty] | 0
Thread: 16 - 50 m = 8 mm / 63 - 125 mm = 8 and 10 mm
60616 | 16 mm | 1 |  |  |  | PP-R clip
60620 | 20 mm | 1 | [18 empty] | 0
60625 | 25 mm | 1 | [19 empty] | 0
aquatherm green fittings (PP-R / brass)
Material: fusiolen® PP-R (80) / Colour: green
Socket
Art.-No. | Dimension | Packing unit
11006 | 16 mm | 10
11008 | 20 mm | 10 | [31 empty] | 0
11010 | 25 mm | 10 | [32 empty] | 0
11012 | 32 mm | 5 | [33 empty] | 0
11014 | 40 mm | 5 | [34 empty] | 0
11016 | 50 mm | 5 | [35 empty] | 0
11018 | 63 mm | 1 | [36 empty] | 0
11020 | 75 mm | 1 | [37 empty] | 0
11022 | 90 mm | 1 | [38 empty] | 0
11024 | 110 mm | 1 | [39 empty] | 0
11026 | 125 mm | 1 | [40 empty] | 0
Reducer male/female
Art.-No. | Dimension | Packing unit
11109 | 20/16 mm | 10
11110 | 25/16 mm | 10
11112 | 25/20 mm | 10 | [31 empty] | 0
11114 | 32/20 mm | 5 | [31 empty] | 0
11116 | 32/25 mm | 5 | [32 empty] | 0
11118 | 40/20 mm | 5 | [31 empty] | 0
11120 | 40/25 mm | 5 | [32 empty] | 0
11122 | 40/32 mm | 5 | [33 empty] | 0
11124 | 50/20 mm | 5 | [31 empty] | 0
11126 | 50/25 mm | 5 | [32 empty] | 0
11128 | 50/32 mm | 5 | [33 empty] | 0
11130 | 50/40 mm | 5 | [34 empty] | 0
11131 | 63/20 mm | 1 | [31 empty] | 0
11132 | 63/25 mm | 1 | [32 empty] | 0
11134 | 63/32 mm | 1 | [33 empty] | 0
11136 | 63/40 mm | 1 | [34 empty] | 0
11138 | 63/50 mm | 1 | [35 empty] | 0
11143 | 75/20 mm | 1 | [31 empty] | 0
11144 | 75/25 mm | 1 | [32 empty] | 0
11145 | 75/32 mm | 1 | [33 empty] | 0
11139 | 75/40 mm | 1 | [34 empty] | 0
11140 | 75/50 mm | 1 | [35 empty] | 0
11142 | 75/63 mm | 1 | [36 empty] | 0
11151 | 90/50 mm | 1 | [35 empty] | 0
11152 | 90/63 mm | 1 | [36 empty] | 0
11153 | 90/75 mm | 1 | [37 empty] | 0
11155 | 110/63 mm | 1 | [36 empty] | 0
11157 | 110/75 mm | 1 | [37 empty] | 0
11159 | 110/90 mm | 1 | [38 empty] | 0
11161 | 125/75 mm | 1 | [37 empty] | 0
11163 | 125/90 mm | 1 | [38 empty] | 0
11165 | 125/110 mm | 1 | [39 empty] | 0
11176 | 160/125 mm | 1 | [40 empty] | 0 |  |  |  | 0
11177 | 160/125 mm | 1 | [40 empty] | 0 | 0
11184 | 200/160 mm | 1 | [44 empty] | 0 | 0
11185 | 200/160 mm | 1 | [41 empty] | 0 | 0
11190 | 250/200 mm | 1 | [45 empty] | 0 | 0
11191 | 250/200 mm | 1 | [42 empty] | 0 | 0
(Ø160mm and up) Red is SDR11, black is SDR7.4
Reducing socket female/female
Art.-No. | Dimension | Packing unit
11222 | 40/32 mm | 1 | [33 empty] | 0 | 0
11228 | 50/32 mm | 1 | [33 empty] | 0 |  | 0
11230 | 50/40 mm | 1 | [34 empty] | 0 | 0
11236 | 63/40 mm | 1 | [34 empty] | 0 |  | 0
11238 | 63/50 mm | 1 | [35 empty] | 0 | 0
11240 | 75/50 mm | 1 | [35 empty] | 0 |  | 0
11242 | 75/63 mm | 1 | [36 empty] | 0 | 0
11252 | 90/63 mm | 1 | [36 empty] | 0 |  | 0
11253 | 90/75 mm | 1 | [37 empty] | 0 | 0
11257 | 110/75 mm | 1 | [37 empty] | 0 |  | 0
11259 | 110/90 mm | 1 | [38 empty] | 0 | 0
11263 | 125/90 mm | 1 | [38 empty] | 0 |  | 0
11265 | 125/110 mm | 1 | [39 empty] | 0 | 0
Elbow 90°
Art.-No. | Dimension | Packing unit
12106 | 16 mm | 10
12108 | 20 mm | 10 | [31 empty] | 0
12110 | 25 mm | 10 | [32 empty] | 0
12112 | 32 mm | 5 | [33 empty] | 0
12114 | 40 mm | 5 | [34 empty] | 0
12116 | 50 mm | 5 | [35 empty] | 0
12118 | 63 mm | 1 | [36 empty] | 0
12120 | 75 mm | 1 | [37 empty] | 0
12122 | 90 mm | 1 | [38 empty] | 0
12124 | 110 mm | 1 | [39 empty] | 0
12126 | 125 mm | 1 | [40 empty] | 0
12130 | 160 mm | 1 | [44 empty] | 0
12131 | 160 mm | 1 | [41 empty] | 0
12134 | 200 mm | 1 | [45 empty] | 0
12135 | 200 mm | 1 | [42 empty] | 0
12138 | 250 mm | 1 | [46 empty] | 0
12139 | 250 mm | 1 | [43 empty] | 0
(Ø160mm and up) Red is SDR11, black is SDR7.4
Elbow 90° female/male
Art.-No. | Dimension | Packing unit
12306 | 16 mm | 10
12308 | 20 mm | 10 | [31 empty] | 0
12310 | 25 mm | 10 | [32 empty] | 0
12312 | 32 mm | 5 | [33 empty] | 0
12314 | 40 mm | 5 | [34 empty] | 0
Elbow 45°
Art.-No. | Dimension | Packing unit
12506 | 16 mm | 10
12508 | 20 mm | 10 | [31 empty] | 0
12510 | 25 mm | 10 | [32 empty] | 0
12512 | 32 mm | 5 | [33 empty] | 0
12514 | 40 mm | 5 | [34 empty] | 0
12516 | 50 mm | 5 | [35 empty] | 0
12518 | 63 mm | 1 | [36 empty] | 0
12520 | 75 mm | 1 | [37 empty] | 0
12522 | 90 mm | 1 | [38 empty] | 0
12524 | 110 mm | 1 | [39 empty] | 0
12526 | 125 mm | 1 | [40 empty] | 0
12530 | 160 mm | 1 | [44 empty] | 0
12531 | 160 mm | 1 | [41 empty] | 0
12534 | 200 mm | 1 | [45 empty] | 0
12535 | 200 mm | 1 | [42 empty] | 0
12538 | 250 mm | 1 | [46 empty] | 0
12539 | 250 mm | 1 | [43 empty] | 0
(Ø160mm and up) Red is SDR11, black is SDR7.4
Elbow 45° female/male
Art.-No. | Dimension | Packing unit
12708 | 20 mm | 10 | [31 empty] | 0
12710 | 25 mm | 10 | [32 empty] | 0
12712 | 32 mm | 5 | [33 empty] | 0
12714 | 40 mm | 5 | [34 empty] | 0
Tee
Art.-No. | Dimension | Packing unit
13106 | 16 mm | 10
13108 | 20 mm | 10 | [31 empty] | 0
13110 | 25 mm | 10 | [32 empty] | 0
13112 | 32 mm | 5 | [33 empty] | 0
13114 | 40 mm | 5 | [34 empty] | 0
13116 | 50 mm | 5 | [35 empty] | 0
13118 | 63 mm | 1 | [36 empty] | 0
13120 | 75 mm | 1 | [37 empty] | 0
13122 | 90 mm | 1 | [38 empty] | 0
13124 | 110 mm | 1 | [39 empty] | 0
13126 | 125 mm | 1 | [40 empty] | 0
13130 | 160 mm | 1 | [44 empty] | 0
13131 | 160 mm | 1 | [41 empty] | 0
13134 | 200 mm | 1 | [45 empty] | 0
13135 | 200 mm | 1 | [42 empty] | 0
13138 | 250 mm | 1 | [46 empty] | 0
13139 | 250 mm | 1 | [43 empty] | 0
(Ø160mm and up) Red is SDR11, black is SDR7.4
Reducing Tee
Art.-No. | Dimension | Packing unit
13506 | 20x16x16 mm | 10
13508 | 20x16x20 mm | 10
13510 | 20x20x16 mm | 10
13511 | 20x25x20 mm | 10 | [31 empty] | 0 | 0
13512 | 25x16x16 mm | 10
13514 | 25x16x20 mm | 10
13516 | 25x16x25 mm | 10
13520 | 25x20x20 mm | 10 | [31 empty] | 0 | 0
13522 | 25x20x25 mm | 10 | [31 empty] | 0 | 0
13528 | 32x16x32 mm | 5
13532 | 32x20x20 mm | 5 | [31 empty] | 0 |  | 0
13534 | 32x20x32 mm | 5 | [31 empty] | 0 |  | 0
13538 | 32x25x25 mm | 5 | [32 empty] | 0 | 0
13540 | 32x25x32 mm | 5 | [32 empty] | 0 | 0
13542 | 40x20x40 mm | 5 | [31 empty] | 0 |  |  | 0
13544 | 40x25x40 mm | 5 | [32 empty] | 0 |  | 0
13546 | 40x32x40 mm | 5 | [33 empty] | 0 | 0
13547 | 50x20x50 mm | 5 | [31 empty] | 0 |  |  |  | 0
13548 | 50x25x50 mm | 5 | [32 empty] | 0 |  |  | 0
13550 | 50x32x50 mm | 5 | [33 empty] | 0 |  | 0
13551 | 50x40x50 mm | 5 | [34 empty] | 0 | 0
13552 | 63x20x63 mm | 1 | [31 empty] | 0 |  |  |  |  | 0
13554 | 63x25x63 mm | 1 | [32 empty] | 0 |  |  |  | 0
13556 | 63x32x63 mm | 1 | [33 empty] | 0 |  |  | 0
13558 | 63x40x63 mm | 1 | [34 empty] | 0 |  | 0
13560 | 63x50x63 mm | 1 | [35 empty] | 0 | 0
13561 | 75x20x75 mm | 1 | [31 empty] | 0 | [5 empty] | 0
13562 | 75x25x75 mm | 1 | [32 empty] | 0 |  |  |  |  | 0
13564 | 75x32x75 mm | 1 | [33 empty] | 0 |  |  |  | 0
13566 | 75x40x75 mm | 1 | [34 empty] | 0 |  |  | 0
13568 | 75x50x75 mm | 1 | [35 empty] | 0 |  | 0
13570 | 75x63x75 mm | 1 | [36 empty] | 0 | 0
13576 | 90x32x90 mm | 1 | [33 empty] | 0 |  |  |  |  | 0
13578 | 90x40x90 mm | 1 | [34 empty] | 0 |  |  |  | 0
13580 | 90x50x90 mm | 1 | [35 empty] | 0 |  |  | 0
13582 | 90x63x90 mm | 1 | [36 empty] | 0 |  | 0
13584 | 90x75x90 mm | 1 | [37 empty] | 0 | 0
13586 | 110x63x110 mm | 1 | [36 empty] | 0 |  |  | 0
13588 | 110x75x110 mm | 1 | [37 empty] | 0 |  | 0
13590 | 110x90x110 mm | 1 | [38 empty] | 0 | 0
13592 | 125x75x125 mm | 1 | [37 empty] | 0 |  |  | 0
13594 | 125x90x125 mm | 1 | [38 empty] | 0 |  | 0
13596 | 125x110x125 mm | 1 | [39 empty] | 0 | 0
13600 | 160x75x160 mm | 1 | [37 empty] | 0 | [6 empty] | 0
13601 | 160x75x160 mm | 1 | [37 empty] | 0 |  |  |  | 0
13602 | 160x90x160 mm | 1 | [38 empty] | 0 | [5 empty] | 0
13603 | 160x90x160 mm | 1 | [38 empty] | 0 |  |  | 0
13608 | 200x75x200 mm | 1 | [37 empty] | 0 | [7 empty] | 0
13609 | 200x75x200 mm | 1 | [37 empty] | 0 |  |  |  |  | 0
13610 | 200x90x200 mm | 1 | [38 empty] | 0 | [6 empty] | 0
13611 | 200x90x200 mm | 1 | [38 empty] | 0 |  |  |  | 0
13612 | 200x110x200 mm | 1 | [39 empty] | 0 | [5 empty] | 0
13613 | 200x110x200 mm | 1 | [39 empty] | 0 |  |  | 0
13614 | 200x125x200 mm | 1 | [40 empty] | 0 |  |  |  |  | 0
13615 | 200x125x200 mm | 1 | [40 empty] | 0 |  | 0
13624 | 250x75x250 mm | 1 | [37 empty] | 0 | [8 empty] | 0
13625 | 250x75x250 mm | 1 | [37 empty] | 0 | [5 empty] | 0
13626 | 250x90x250 mm | 1 | [38 empty] | 0 | [7 empty] | 0
13627 | 250x90x250 mm | 1 | [38 empty] | 0 |  |  |  |  | 0
13628 | 250x110x250mm | 1 | [39 empty] | 0 | [6 empty] | 0
13629 | 250x110x250 mm | 1 | [39 empty] | 0 |  |  |  | 0
13630 | 250x125x250 mm | 1 | [40 empty] | 0 | [5 empty] | 0
13631 | 250x125x250 mm | 1 | [40 empty] | 0 |  |  | 0
(Ø160mm and up) Red is SDR11, black is SDR7.4
Cross
Art.-No. | Dimension | Packing unit
13708 | 20 mm | 10 | [31 empty] | 0
13710 | 25 mm | 10 | [32 empty] | 0
13712 | 32 mm | 5 | [33 empty] | 0
13714 | 40 mm | 5 | [34 empty] | 0
End cap
Art.-No. | Dimension | Packing unit
14106 | 16 mm | 10
14108 | 20 mm | 10 | [31 empty] | 0
14110 | 25 mm | 10 | [32 empty] | 0
14112 | 32 mm | 5 | [33 empty] | 0
14114 | 40 mm | 5 | [34 empty] | 0
14116 | 50 mm | 5 | [35 empty] | 0
14118 | 63 mm | 1 | [36 empty] | 0
14120 | 75 mm | 1 | [37 empty] | 0
14122 | 90 mm | 1 | [38 empty] | 0
14124 | 110 mm | 1 | [39 empty] | 0
14126 | 125 mm | 1 | [40 empty] | 0
14130 | 160 mm | 1 | [44 empty] | 0
14131 | 160 mm | 1 | [41 empty] | 0
14134 | 200 mm | 1 | [45 empty] | 0
14135 | 200 mm | 1 | [42 empty] | 0
14138 | 250 mm | 1 | [46 empty] | 0
14139 | 250 mm | 1 | [43 empty] | 0
(Ø160mm and up) Red is SDR11, black is SDR7.4
Repair plug / for pipe repair
Art.-No. | Dimension | Packing unit
60600 | 7/11 mm | 10
Material: fusiolen® PP-R (80). For closing holes (up to 10 mm) in the pipe
Processing tool: aquatherm -Repair kit (Art.-No. 50307 resp. 50311)
Overbridge bow
Art.-No. | Dimension | Packing unit
16106 | 16 mm | 10
16108 | 20 mm | 10
16110 | 25 mm | 10
16112 | 32 mm | 5
Weld-in saddle
Art.-No. | Dimension | Packing unit
15156 | 40/20 mm | 5 | [31 empty] | 0 | [49 empty] | 0
15158 | 40/25 mm | 5 | [32 empty] | 0 | [48 empty] | 0
15160 | 50/20 mm | 5 | [31 empty] | 0 | [49 empty] | 0
15162 | 50/25 mm | 5 | [32 empty] | 0 | [48 empty] | 0
15164 | 63/20 mm | 5 | [31 empty] | 0 | [49 empty] | 0
15166 | 63/25 mm | 5 | [32 empty] | 0 | [48 empty] | 0
15168 | 63/32 mm | 5 | [33 empty] | 0 | [48 empty] | 0
15170 | 75/20 mm | 5 | [31 empty] | 0 | [49 empty] | 0
15172 | 75/25 mm | 5 | [32 empty] | 0 | [48 empty] | 0
15174 | 75/32 mm | 5 | [33 empty] | 0 | [48 empty] | 0
15175 | 75/40 mm | 5 | [34 empty] | 0 | [48 empty] | 0
15176 | 90/20 mm | 5 | [31 empty] | 0 | [49 empty] | 0
15178 | 90/25 mm | 5 | [32 empty] | 0 | [48 empty] | 0
15180 | 90/32 mm | 5 | [33 empty] | 0 | [48 empty] | 0
15181 | 90/40 mm | 5 | [34 empty] | 0 | [48 empty] | 0
15182 | 110/20 mm | 5 | [31 empty] | 0 | [49 empty] | 0
15184 | 110/25 mm | 5 | [32 empty] | 0 | [48 empty] | 0
15186 | 110/32 mm | 5 | [33 empty] | 0 | [48 empty] | 0
15188 | 110/40 mm | 5 | [34 empty] | 0 | [48 empty] | 0
15189 | 110/50mm | 5 | [35 empty] | 0 | [48 empty] | 0
15190 | 125/20 mm | 5 | [31 empty] | 0 | [49 empty] | 0
15192 | 125/25 mm | 5 | [32 empty] | 0 | [48 empty] | 0
15194 | 125/32 mm | 5 | [33 empty] | 0 | [48 empty] | 0
15196 | 125/40 mm | 5 | [34 empty] | 0 | [48 empty] | 0
15197 | 125/50mm | 5 | [35 empty] | 0 | [48 empty] | 0
15198 | 125/63mm | 5 | [36 empty] | 0 | [48 empty] | 0
15206 | 160/20 mm | 5 | [31 empty] | 0 | [49 empty] | 0
15208 | 160/25 mm | 5 | [32 empty] | 0 | [48 empty] | 0
15210 | 160/32 mm | 5 | [33 empty] | 0 | [48 empty] | 0
15212 | 160/40 mm | 5 | [34 empty] | 0 | [48 empty] | 0
15214 | 160/50 mm | 5 | [35 empty] | 0 | [48 empty] | 0
15216 | 160/63 mm | 5 | [36 empty] | 0 | [48 empty] | 0
15228 | 200-250/20 mm | 5 | [31 empty] | 0 | [49 empty] | 0
15229 | 200-250/25 mm | 5 | [32 empty] | 0 | [48 empty] | 0
15230 | 200-250/32 mm | 5 | [33 empty] | 0 | [48 empty] | 0
15231 | 200/40 mm | 5 | [34 empty] | 0 | [48 empty] | 0
15232 | 200/50 mm | 5 | [35 empty] | 0 | [48 empty] | 0
15233 | 200/63 mm | 5 | [36 empty] | 0 | [48 empty] | 0
15251 | 250/40 mm | 5 | [34 empty] | 0 | [48 empty] | 0
15252 | 250/50 mm | 5 | [35 empty] | 0 | [48 empty] | 0
15253 | 250/63 mm | 5 | [36 empty] | 0 | [48 empty] | 0
Flange adapter including gasket
Art.-No. | Dimension | Packing unit
15512 | 32 mm | 1 | [33 empty] | 0
15514 | 40 mm | 1 | [34 empty] | 0
15516 | 50 mm | 1 | [35 empty] | 0
15518 | 63 mm | 1 | [36 empty] | 0
15520 | 75 mm | 1 | [37 empty] | 0
15522 | 90 mm | 1 | [38 empty] | 0
15524 | 110 mm | 1 | [39 empty] | 0
15526 | 125 mm* | 1 |  |  | *Can only be used connected to a fitting!
15527 | 125 mm | 1 | [40 empty] | 0
15530 | 160 mm | 1 | [44 empty] | 0
15531 | 160 mm | 1 | [41 empty] | 0
15534 | 200 mm | 1 | [45 empty] | 0
15535 | 200 mm | 1 | [42 empty] | 0
15538 | 250 mm | 1 | [46 empty] | 0
15539 | 250 mm | 1 | [43 empty] | 0
(Ø160mm and up) Red is SDR11, black is SDR7.4
Plastic coated steel flange
Art.-No. | Dimension | Packing unit |  |  | Suitable for Art. No.
15712 | 32 mm / DN25 | 1 |  |  | 15512 | [67 empty] | 0
15714 | 40 mm / DN32 | 1 |  |  | 15514 | [68 empty] | 0
15716 | 50 mm / DN40 | 1 |  |  | 15516 | [69 empty] | 0
15718 | 63 mm / DN50 | 1 |  |  | 15518 | [70 empty] | 0
15720 | 75 mm / DN65 | 1 |  |  | 15520 | [71 empty] | 0
15722 | 90 mm / DN80 | 1 |  |  | 15522 | [72 empty] | 0
15724 | 110 mm / DN100 | 1 |  |  | 15524/15526 | [73 empty] | 0
15726 | 125 mm / DN125 | 1 |  |  | 15527 | [74 empty] | 0
15730 | 160 mm / DN150 | 1 | [78 empty] | 0
15734 | 200 mm / DN200 | 1 | [79 empty] | 0
15738 | 250 mm / DN250 | 1 | [80 empty] | 0
Coupling screw joint /Socket union
Art.-No. | Dimension | Packing unit
15812 | 32 mm | 1 | [33 empty] | 0
15814 | 40 mm | 1 | [34 empty] | 0
15816 | 50 mm | 1 | [35 empty] | 0
15818 | 63 mm | 1 | [36 empty] | 0
15820 | 75 mm | 1 | [37 empty] | 0
with two flange adapters incl. washer
PP Plastic screw joint /Socket union
Art. No. | Dimension | Pack. Unit
15838 | 20 mm | 1 | [31 empty] | 0
15840 | 25 mm | 1 | [32 empty] | 0
15842 | 32 mm | 1 | [33 empty] | 0
15844 | 40 mm | 1 | [34 empty] | 0
15846 | 50 mm | 1 | [35 empty] | 0
15848 | 63 mm | 1 | [36 empty] | 0
15850 | 75 mm | 1 | [37 empty] | 0
Electrofusion welding sockets
Art.-No. | Dimension | Packing unit
17208 | 20 mm | 1 | [47 empty] | 0
17210 | 25 mm | 1 | [48 empty] | 0
17212 | 32 mm | 1 | [49 empty] | 0
17214 | 40 mm | 1 | [50 empty] | 0
17216 | 50 mm | 1 | [51 empty] | 0
17218 | 63 mm | 1 | [52 empty] | 0
17220 | 75 mm | 1 | [53 empty] | 0
17222 | 90 mm | 1 | [54 empty] | 0
17224 | 110 mm | 1 | [55 empty] | 0
17226 | 125 mm | 1 | [56 empty] | 0
17230 | 160 mm | 1 | [57 empty] | 0
Processing tool: aquatherm Electrofusion welding device (Art.-No. 50173)
Note:
For joining stabi-composite (MS) pipes with this article, the peeling tools
(Art.-No. 50506 - 50524) have to be adjusted to a bigger peeling depth
by means of the gruber screw
Connecting wall disk (for concealed installation)
Art.-No. | Dimension | Packing unit
20106 | 16 x 1/2" f | 10
20108 | 20 x 1/2" f | 10 | [31 empty] | 0 | [26 empty] | 0
20110 | 20 x 3/4" f | 10 | [31 empty] | 0 | [27 empty] | 0
20112 | 25 x 3/4" f | 10 | [32 empty] | 0 | [26 empty] | 0
20113 | 25 x 1/2" f | 10 | [32 empty] | 0 | [25 empty] | 0
Thread plug incl. joint ring
Art.-No. | Dimension | Packing unit
50708 | 1/2" | 10
50710 | 3/4" | 10
Transition piece round Fi
Art.-No. | Dimension | Packing unit
21006 | 16 x 1/2" f | 10
21008 | 20 x 1/2" f | 10 | [31 empty] | 0 | [26 empty] | 0
21010 | 20 x 3/4" f | 10 | [31 empty] | 0 | [27 empty] | 0
21011 | 25 x 1/2" f | 10 | [32 empty] | 0 | [25 empty] | 0
21012 | 25 x 3/4" f | 10 | [32 empty] | 0 | [26 empty] | 0
21013 | 32 x 3/4" f | 5 | [33 empty] | 0 | [25 empty] | 0
Transition piece with hexagon socket Fi
Art.-No. | Dimension | Packing unit
21106 | 16 x 1/2" f | 10
21108 | 20 x 1/2" f | 10 | [31 empty] | 0 | [26 empty] | 0
21110 | 20 x 3/4" f | 10 | [31 empty] | 0 | [27 empty] | 0
21111 | 25 x 1/2" f | 10 | [32 empty] | 0 | [25 empty] | 0
21112 | 25 x 3/4" f | 10 | [32 empty] | 0 | [26 empty] | 0
21113 | 32 x 3/4" f | 5 | [33 empty] | 0 | [25 empty] | 0
21114 | 32 x 1" f | 5 | [33 empty] | 0 | [26 empty] | 0
21115 | 40 x 1" f | 5 | [34 empty] | 0 | [25 empty] | 0
21116 | 40 x 1.1/4" f | 5 | [34 empty] | 0 | [26 empty] | 0
21117 | 50 x 1.1/4" f | 5 | [35 empty] | 0 | [25 empty] | 0
21118 | 50 x 1.1/2" f | 5 | [35 empty] | 0 | [26 empty] | 0
21119 | 63 x 1.1/2" f | 1 | [36 empty] | 0 | [25 empty] | 0
21120 | 63 x 2" f | 1 | [36 empty] | 0 | [26 empty] | 0
21122 | 75 x 2" f | 1 | [37 empty] | 0 | [25 empty] | 0
Transition piece round Mi
Art.-No. | Dimension | Packing unit
21206 | 16 x 1/2" m | 10
21208 | 20 x 1/2" m | 10 | [31 empty] | 0 | [26 empty] | 0
21210 | 20 x 3/4" m | 10 | [31 empty] | 0 | [27 empty] | 0
21211 | 25 x 1/2" m | 10 | [32 empty] | 0 | [25 empty] | 0
21212 | 25 x 3/4" m | 10 | [32 empty] | 0 | [26 empty] | 0
21213 | 32 x 3/4" m | 5 | [33 empty] | 0 | [25 empty] | 0
Transition piece with hexagon socket Mi
Art.-No. | Dimension | Packing unit
21306 | 16 x 1/2" m | 10
21308 | 20 x 1/2" m | 10 | [31 empty] | 0 | [26 empty] | 0
21310 | 20 x 3/4" m | 10 | [31 empty] | 0 | [27 empty] | 0
21312 | 25 x 3/4" m | 10 | [32 empty] | 0 | [26 empty] | 0
21314 | 32 x 1" m | 5 | [33 empty] | 0 | [26 empty] | 0
21316 | 32 x 1.1/4" m | 5 | [33 empty] | 0 | [27 empty] | 0
21317 | 40 x 1" m | 5 | [34 empty] | 0 | [25 empty] | 0
21318 | 40 x 1.1/4" m | 5 | [34 empty] | 0 | [26 empty] | 0
21319 | 50 x 1.1/4" m | 5 | [35 empty] | 0 | [25 empty] | 0
21320 | 50 x 1.1/2" m | 5 | [35 empty] | 0 | [26 empty] | 0
21321 | 63 x 1.1/2" m | 1 | [36 empty] | 0 | [25 empty] | 0
21322 | 63 x 2" m | 1 | [36 empty] | 0 | [26 empty] | 0
21323 | 75 x 2" m | 1 | [37 empty] | 0 | [25 empty] | 0
21324 | 75 x 2 1/2" m | 1 | [37 empty] | 0 | [27 empty] | 0
21325 | 90 x 3" m | 1 | [38 empty] | 0 | [28 empty] | 0
21327 | 110 x 4" m | 1 | [39 empty] | 0 | [29 empty] | 0
Transition elbow 90⁰ Fi
Art.-No. | Dimension | Packing unit
23006 | 16 x 1/2" f | 10
23008 | 20 x 3/4" f | 10 | [31 empty] | 0 | [27 empty] | 0
23010 | 20 x 1/2" f | 10 | [31 empty] | 0 | [26 empty] | 0
23012 | 25 x 3/4" f | 10 | [32 empty] | 0 | [26 empty] | 0
23014 | 25 x 1/2" f | 10 | [32 empty] | 0 | [25 empty] | 0
23016 | 32 x 3/4" f | 5 | [33 empty] | 0 | [25 empty] | 0
23018 | 32 x 1" f | 5 | [33 empty] | 0 | [26 empty] | 0
Transition elbow 90⁰ female/male Fi
Art.-No. | Dimension | Packing unit
23208 | 20 x 1/2" f | 10 | [31 empty] | 0 | [26 empty] | 0
Transition elbow 90⁰ Mi
Art.-No. | Dimension | Packing unit
23504 | 16 x 1/2" m | 10
23506 | 20 x 1/2" m | 10 | [31 empty] | 0 | [26 empty] | 0
23508 | 20 x 3/4" m | 10 | [31 empty] | 0 | [27 empty] | 0
23510 | 25 x 3/4" m | 10 | [32 empty] | 0 | [26 empty] | 0
23512 | 32 x 3/4" m | 5 | [33 empty] | 0 | [25 empty] | 0
23514 | 32 x 1" m | 5 | [33 empty] | 0 | [26 empty] | 0
Transition tee Fi
Art.-No. | Dimension | Packing unit
25004 | 16 x 1/2" f x 16 | 10
25006 | 20 x 1/2" f x 20 | 10 | [31 empty] | 0 | [26 empty] | 0
25008 | 20 x 3/4" f x 20 | 10 | [31 empty] | 0 | [27 empty] | 0
25010 | 25 x 1/2" f x 25 | 10 | [32 empty] | 0 | [25 empty] | 0
25012 | 25 x 3/4" f x 25 | 10 | [32 empty] | 0 | [26 empty] | 0
25014 | 32 x 3/4" f x 32 | 5 | [33 empty] | 0 | [25 empty] | 0
25016 | 32 x 1" f x 32 | 5 | [33 empty] | 0 | [26 empty] | 0
25018 | 40 x 1/2" f x 40 | 5 | [34 empty] | 0 | [23 empty] | 0
25020 | 40 x 1" f x 40 | 5 | [34 empty] | 0 | [25 empty] | 0
25022 | 50 x 1" f x 50 | 5 | [35 empty] | 0 | [24 empty] | 0
Transition tee with male thread Mi
Art.-No. | Dimension | Packing unit
25506 | 20 x 1/2" m x 20 | 10 | [31 empty] | 0 | [26 empty] | 0
Transition joint - Barrell Union Mi
With union nut and welding socket
Art.-No. | Dimension | Packing unit
26608 | 20 mm x 1/2" m | 1 | [31 empty] | 0 | [26 empty] | 0
26610 | 25 mm x 3/4" m | 1 | [32 empty] | 0 | [26 empty] | 0
26612 | 32 mm x 1" m | 1 | [33 empty] | 0 | [26 empty] | 0
26614 | 40 mm x 1.1/4" m | 1 | [34 empty] | 0 | [26 empty] | 0
26616 | 50 mm x 1.1/2" m | 1 | [35 empty] | 0 | [26 empty] | 0
26618 | 63 mm x 2" m | 1 | [36 empty] | 0 | [26 empty] | 0
Transition joint - Barrell Union Fi
With union nut and welding socket
Art.-No. | Dimension | Packing unit
26638 | 20mm x 1/2" f | 1 | [31 empty] | 0 | [26 empty] | 0
26640 | 25mm x 3/4" f | 1 | [32 empty] | 0 | [26 empty] | 0
26642 | 32mm x 1" f | 1 | [33 empty] | 0 | [26 empty] | 0
26644 | 40mm x 1.1/4" f | 1 | [34 empty] | 0 | [26 empty] | 0
26646 | 50mm x 1.1/2" f | 1 | [35 empty] | 0 | [26 empty] | 0
26648 | 63mm x 2" f | 1 | [36 empty] | 0 | [26 empty] | 0
Connecting union
with joint ring, length: 100 mm
Art.-No. | Dimension | Packing unit
26708 | 20 mm / nut G 1" | 1 | [60 empty] | 0
26710 | 25 mm / nut G 1.1/4" | 1 | [61 empty] | 0
26712 | 30 mm / nut G 1.1/2" | 1 | [62 empty] | 0
26714 | 40 mm / nut G 2" | 1 | [63 empty] | 0
26716 | 50 mm / nut G 2.1/4" | 1 | [64 empty] | 0
26717 | 50 mm / nut G 2.1/2" | 1 | [65 empty] | 0
26718 | 63 mm / nut G 2.3/4" | 1 | [66 empty] | 0
26720 | 75 mm / nut G 3.1/2" | 1 | [68 empty] | 0
26722 | 90 mm / nut G 4" | 1 | [69 empty] | 0
Water meter connecting union
with sealing element
Art.-No. | Dimension | Packing unit
26808 | nut G 3/4" x 20 mm | 1
26810 | nut G 3/4" x 25 mm | 1 | [32 empty] | 0 | [26 empty] | 0
26812 | nut G 3/4" x 32 mm | 1 | [33 empty] | 0 | [25 empty] | 0
Transition joint - Female
Art.-No. | Dimension | Packing unit
27010 | nut G 1" x 20 mm | 10 | [31 empty] | 0 | [28 empty] | 0
27011 | nut G 1" x 25 mm | 10 | [32 empty] | 0 | [27 empty] | 0
27012 | nut G 1.1/4" x 25 mm | 10 | [32 empty] | 0 | [28 empty] | 0
27013 | nut G 1.1/4" x 32 mm | 5 | [33 empty] | 0 | [27 empty] | 0
27014 | nut G 1.1/2" x 32 mm | 5 | [33 empty] | 0 | [28 empty] | 0
27015 | nut G 1.1/2" x 40 mm | 5 | [34 empty] | 0 | [27 empty] | 0
27016 | nut G 2" x 40 mm | 5 | [34 empty] | 0 | [28 empty] | 0
27017 | nut G 2" x 50 mm | 5 | [35 empty] | 0 | [27 empty] | 0
27018 | nut G 2.1/4" x 50 mm | 5 | [35 empty] | 0 | [28 empty] | 0
27019 | nut G 2.1/4" x 63 mm | 1 | [36 empty] | 0 | [27 empty] | 0
27020 | nut G 2.3/4" x 63 mm | 1 | [36 empty] | 0 | [29 empty] | 0
27021 | nut G 2.3/4" x 75 mm | 1 | [37 empty] | 0 | [28 empty] | 0
27022 | nut G 3.1/2" x 75 mm | 1 | [37 empty] | 0 | [30 empty] | 0
Transition joint Counterpart - Male
Art.-No. | Dimension | Packing unit
27310 | 1" m x 20 mm | 10 | [31 empty] | 0 | [28 empty] | 0
27311 | 1" m x 25 mm | 10 | [32 empty] | 0 | [27 empty] | 0
27312 | 1.1/4" m x 25 mm | 10 | [32 empty] | 0 | [28 empty] | 0
27313 | 1.1/4" m x 32 mm | 5 | [33 empty] | 0 | [27 empty] | 0
27314 | 1.1/2" m x 32 mm | 5 | [33 empty] | 0 | [28 empty] | 0
27315 | 1.1/2" m x 40 mm | 5 | [34 empty] | 0 | [27 empty] | 0
27316 | 2" m x 40 mm | 5 | [34 empty] | 0 | [28 empty] | 0
27317 | 2" m x 50 mm | 5 | [35 empty] | 0 | [27 empty] | 0
27318 | 2.1/4" m x 50 mm | 5 | [35 empty] | 0 | [28 empty] | 0
27319 | 2.1/4" m x 63 mm | 1 | [36 empty] | 0 | [27 empty] | 0
27320 | 2.3/4" m x 63 mm | 1 | [36 empty] | 0 | [29 empty] | 0
27321 | 2.3/4" m x 75 mm | 1 | [37 empty] | 0 | [28 empty] | 0
27322 | 3.1/2" m x 75 mm | 1 | [37 empty] | 0 | [30 empty] | 0
Weld in saddle - Fi
with female thread and hexagon socket
with weld on surface and weld-in socket to be fused with the inner pipe wall
Art.-No. | Dimension | Packing unit
28214 | 40/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
28216 | 50/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
28218 | 63/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
28220 | 75/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
28222 | 90/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
28224 | 110/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
28226 | 125/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
28230 | 160/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
28234 | 40/25 x 3/4" f | 5 |  |  | The necessary tools for the fusion of | [56 empty] | 0 | [21 empty] | 0
28236 | 50/25 x 3/4" f | 5 |  |  | weld in saddles are | [56 empty] | 0 | [21 empty] | 0
28238 | 63/25 x 3/4" f | 5 |  |  | listed on page 63: | [56 empty] | 0 | [21 empty] | 0
28240 | 75/25 x 3/4" f | 5 |  |  | - Welding tools for weld in saddles | [56 empty] | 0 | [21 empty] | 0
28242 | 90/25 x 3/4" f | 5 |  |  | Art. No. 50614 - 50640 | [56 empty] | 0 | [21 empty] | 0
28244 | 110/25 x 3/4" f | 5 |  |  | - Chamfering tool | [56 empty] | 0 | [21 empty] | 0
28246 | 125/25 x 3/4" f | 5 |  |  | Art. No. 50910, 50912, 50914 | [56 empty] | 0 | [21 empty] | 0
28250 | 160/25 x 3/4" f | 5 |  |  | (only for stabi-composite (MS) pipes) | [56 empty] | 0 | [21 empty] | 0
28254 | 200-250/25 x 3/4" f | 5 |  |  | - Drills | [56 empty] | 0 | [21 empty] | 0
28260 | 75/32 x 1" f | 5 |  |  | Art. No. 50940, 50942, 50944 | [57 empty] | 0 | [21 empty] | 0
28262 | 90/32 x 1" f | 5 | [60 empty] | 0 | [21 empty] | 0
28264 | 110/32 x 1" f | 5 | [60 empty] | 0 | [21 empty] | 0
28266 | 125/32 x 1" f | 5 | [60 empty] | 0 | [21 empty] | 0
28270 | 160/32 x 1" f | 5 | [60 empty] | 0 | [21 empty] | 0
28274 | 200-250/32 x 1" f | 5 | [60 empty] | 0 | [21 empty] | 0
Weld in saddle - Mi
Art.-No. | Dimension | Packing unit
28314 | 40/25 mm x 1/2" m | 5 | [58 empty] | 0 | [22 empty] | 0
28316 | 50/25 mm x 1/2" m | 5 | [58 empty] | 0 | [22 empty] | 0
28318 | 63/25 mm x 1/2" m | 5 | [58 empty] | 0 | [22 empty] | 0
28320 | 75/25 mm x 1/2" m | 5 | [58 empty] | 0 | [22 empty] | 0
28322 | 90/25 mm x 1/2" m | 5 | [58 empty] | 0 | [22 empty] | 0
28324 | 110/25 mm x 1/2" m | 5 | [58 empty] | 0 | [22 empty] | 0
28326 | 125/25 mm x 1/2" m | 5 | [58 empty] | 0 | [22 empty] | 0
28330 | 160/25mm x 1/2" m | 5 | [58 empty] | 0 | [22 empty] | 0
28334 | 40/25 mm x 3/4" m | 5 | [59 empty] | 0 | [21 empty] | 0
28336 | 50/25 mm x 3/4" m | 5 | [59 empty] | 0 | [21 empty] | 0
28338 | 63/25 mm x 3/4" m | 5 | [59 empty] | 0 | [21 empty] | 0
28340 | 75/25 mm x 3/4" m | 5 | [59 empty] | 0 | [21 empty] | 0
28342 | 90/25 mm x 3/4" m | 5 | [59 empty] | 0 | [21 empty] | 0
28344 | 110/25 mm x 3/4" m | 5 | [59 empty] | 0 | [21 empty] | 0
28346 | 125/25 mm x 3/4" m | 5 | [59 empty] | 0 | [21 empty] | 0
28350 | 160/25 mm x 3/4" m | 5 | [59 empty] | 0 | [21 empty] | 0
aquatherm valves
Screw-down stop globe valve
Art.-No. | Dimension | Packing unit
40808 | 20 mm | 1 | [31 empty] | 0
40810 | 25 mm | 1 | [32 empty] | 0
40812 | 32 mm | 1 | [33 empty] | 0
40814 | 40 mm | 1 | [34 empty] | 0
Concealed valve
chromium plated
Art.-No. | Dimension | Packing unit
40858 | 20 mm | 1 | [31 empty] | 0
40860 | 25 mm | 1 | [32 empty] | 0
40862 | 32 mm | 1 | [33 empty] | 0
Concealed valve - extended stem
chromium plated
Art.-No. | Dimension | Packing unit
40878 | 20 mm | 1 | [31 empty] | 0
40880 | 25 mm | 1 | [32 empty] | 0
40882 | 32 mm | 1 | [33 empty] | 0
Stop valve body
Art.-No. | Dimension | Packing unit
40908 | 20 mm / 3/4" | 1 | [31 empty] | 0 | [27 empty] | 0
40910 | 25 mm / 3/4" | 1 | [32 empty] | 0 | [26 empty] | 0
40912 | 32 mm / 1" | 1 | [33 empty] | 0 | [26 empty] | 0
40914 | 40 mm / 1.1/4" | 1 | [34 empty] | 0 | [26 empty] | 0
40909 | 20 mm / 5/8 " | 1 | [31 empty] | 0
KFR-valve
Art.-No. | Dimension | Packing unit
41208 | 20 mm | 1 | [31 empty] | 0
41210 | 25 mm | 1 | [32 empty] | 0
41212 | 32 mm | 1 | [33 empty] | 0
41214 | 40 mm | 1 | [34 empty] | 0
Ball valve - PP-R / Brass
Art.-No. | Dimension | Packing unit
41308 | 20 mm | 1 | [31 empty] | 0
41310 | 25 mm | 1 | [32 empty] | 0
41312 | 32 mm | 1 | [33 empty] | 0
41314 | 40 mm | 1 | [34 empty] | 0
41316 | 50 mm | 1 | [35 empty] | 0
41318 | 63 mm | 1 | [36 empty] | 0
Ball valve - polypropylene - socket
Art.-No. | Dimension | Packing unit
41488 | 20 mm | 1 | [31 empty] | 0
41490 | 25 mm | 1 | [32 empty] | 0
41492 | 32 mm | 1 | [33 empty] | 0
41494 | 40 mm | 1 | [34 empty] | 0
41496 | 50 mm | 1 | [35 empty] | 0
41498 | 63 mm | 1 | [36 empty] | 0
41400 | 75 mm | 1 |  |  | New: | [34 empty] | 0
Ball valve - polypropylene - Flanged | [5 empty] | New:
Art.-No. | Dimension | Packing unit
41401 | 75 mm | 1 | [74 empty] | 0
41602 | 90 mm | 1 | [75 empty] | 0
41604 | 110 mm/125mm | 1 | [76 empty] | 0
41607 | 160mm | 1 | [78 empty] | 0
flange adapter (Art. No. 15520-15527), as well as plastic flange (Art. No. 15720-15726) |  |  |  | aquatherm green fittings Stainless Steel
Connecting wall disk SS (concealed installation)
Art.-No. | Dimension | Packing unit
920108 | 20 x 1/2" f | 10 | [31 empty] | 0 | [26 empty] | 0
920110 | 20 x 3/4" f | 10 | [31 empty] | 0 | [27 empty] | 0
920112 | 25 x 3/4" f | 10 | [32 empty] | 0 | [26 empty] | 0
920113 | 25 x 1/2" f | 10 | [32 empty] | 0 | [25 empty] | 0
Transition piece round SS Fi
Art.-No. | Dimension | Packing unit
921008 | 20 x 1/2" f | 10 | [31 empty] | 0 | [26 empty] | 0
921010 | 20 x 3/4" f | 10 | [31 empty] | 0 | [27 empty] | 0
921011 | 25 x 1/2" f | 10 | [32 empty] | 0 | [25 empty] | 0
921012 | 25 x 3/4" f | 10 | [32 empty] | 0 | [26 empty] | 0
921013 | 32 x 3/4" f | 5 | [33 empty] | 0 | [25 empty] | 0
921014 | 32 x 1/2" f | 5 | [33 empty] | 0 | [24 empty] | 0
Transition piece with hexagon socket SS Fi
Art.-No. | Dimension | Packing unit
921114 | 32 x 1" f | 5 | [33 empty] | 0 | [26 empty] | 0
921115 | 40 x 1" f | 5 | [34 empty] | 0 | [25 empty] | 0
921116 | 40 x 1.1/4" f | 5 | [34 empty] | 0 | [26 empty] | 0
921117 | 50 x 1.1/4" f | 5 | [35 empty] | 0 | [25 empty] | 0
921118 | 50 x 1.1/2" f | 5 | [35 empty] | 0 | [26 empty] | 0
921119 | 63 x 1.1/2" f | 1 | [36 empty] | 0 | [25 empty] | 0
921120 | 63 x 2" f | 1 | [36 empty] | 0 | [26 empty] | 0
921122 | 75 x 2" f | 1 | [37 empty] | 0 | [25 empty] | 0
Transition piece round SS Mi
Art.-No. | Dimension | Packing unit
921208 | 20 x 1/2" m | 10 | [31 empty] | 0 | [26 empty] | 0
921210 | 20 x 3/4" m | 10 | [31 empty] | 0 | [27 empty] | 0
921211 | 25 x 1/2" m | 10 | [32 empty] | 0 | [25 empty] | 0
921212 | 25 x 3/4" m | 10 | [32 empty] | 0 | [26 empty] | 0
921213 | 32 x 3/4" m | 5 | [33 empty] | 0 | [25 empty] | 0
Transition piece with hexagon socket SS Mi
Art.-No. | Dimension | Packing unit
921314 | 32 x 1" m | 5 | [33 empty] | 0 | [26 empty] | 0
921316 | 32 x 1.1/4" m | 5 | [33 empty] | 0 | [27 empty] | 0
921317 | 40 x 1" m | 5 | [34 empty] | 0 | [25 empty] | 0
921318 | 40 x 1.1/4" m | 5 | [34 empty] | 0 | [26 empty] | 0
921319 | 50 x 1.1/4" m | 5 | [35 empty] | 0 | [25 empty] | 0
921320 | 50 x 1.1/2" m | 5 | [35 empty] | 0 | [26 empty] | 0
921321 | 63 x 1.1/2" m | 1 | [36 empty] | 0 | [25 empty] | 0
921322 | 63 x 2" m | 1 | [36 empty] | 0 | [26 empty] | 0
921323 | 75 x 2" m | 1 | [37 empty] | 0 | [25 empty] | 0
Transition elbow SS Fi
Art.-No. | Dimension | Packing unit
923008 | 20 x 3/4" f | 10 | [31 empty] | 0 | [27 empty] | 0
923010 | 20 x 1/2" f | 10 | [31 empty] | 0 | [26 empty] | 0
923012 | 25 x 3/4" f | 10 | [32 empty] | 0 | [26 empty] | 0
923014 | 25 x 1/2" f | 10 | [32 empty] | 0 | [25 empty] | 0
923015 | 32 x 1/2" f | 5 | [33 empty] | 0 | [24 empty] | 0
923016 | 32 x 3/4" f | 5 | [33 empty] | 0 | [25 empty] | 0
923018 | 32 x 1" f | 5 | [33 empty] | 0 | [26 empty] | 0
Transition elbow SS Mi
Art.-No. | Dimension | Packing unit
923506 | 20 x 1/2" m | 10 | [31 empty] | 0 | [26 empty] | 0
923508 | 20 x 3/4" m | 10 | [31 empty] | 0 | [27 empty] | 0
923510 | 25 x 3/4" m | 10 | [32 empty] | 0 | [26 empty] | 0
923512 | 32 x 3/4" m | 5 | [33 empty] | 0 | [25 empty] | 0
Transition tee SS Fi
Art.-No. | Dimension | Packing unit
925006 | 20 x 1/2" f x 20 | 10 | [31 empty] | 0 | [26 empty] | 0
925008 | 20 x 3/4" f x 20 | 10 | [31 empty] | 0 | [27 empty] | 0
925010 | 25 x 1/2" f x 25 | 10 | [32 empty] | 0 | [25 empty] | 0
925012 | 25 x 3/4" f x 25 | 10 | [32 empty] | 0 | [26 empty] | 0
925013 | 32 x 1/2" f x 32 | 5 | [33 empty] | 0 | [24 empty] | 0
925014 | 32 x 3/4" f x 32 | 5 | [33 empty] | 0 | [25 empty] | 0
925016 | 32 x 1" f x 32 | 5 | [33 empty] | 0 | [26 empty] | 0
Weld in saddle SS Fi
with female thread (1/2" and 3/4" without hexagon, 1" with hexagon transition)
with weld on surface and weld-in socket to be fused with the inner pipe wall
Art.-No. | Dimension | Packing unit
928214 | 40/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
928216 | 50/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
928218 | 63/25 x 1/2" f | 5 |  |  |  | 1/2" f and 3/4" f is | [54 empty] | 0 | [22 empty] | 0
928220 | 75/25 x 1/2" f | 5 |  |  |  | without hexagon transition | [54 empty] | 0 | [22 empty] | 0
928222 | 90/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
928224 | 110/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
928226 | 125/25 x 1/2" f | 5 | [58 empty] | 0 | [22 empty] | 0
928230 | 160/25 x 1/2" f | 5 |  |  | The necessary tools for the fusion of | [55 empty] | 0 | [22 empty] | 0
928232 | 200-250/25 x 1/2" f | 5 |  |  | weld in saddles are | [55 empty] | 0 | [22 empty] | 0
928234 | 40/25 x 3/4" f | 5 | [59 empty] | 0 | [21 empty] | 0
928236 | 50/25 x 3/4" f | 5 | [59 empty] | 0 | [21 empty] | 0
928238 | 63/25 x 3/4" f | 5 |  |  | listed on page 63: | [56 empty] | 0 | [21 empty] | 0
928240 | 75/25 x 3/4" f | 5 |  |  | - Welding tools for weld in saddles | [56 empty] | 0 | [21 empty] | 0
928242 | 90/25 x 3/4" f | 5 |  |  | Art. No. 50614 - 50640 | [56 empty] | 0 | [21 empty] | 0
928244 | 110/25 x 3/4" f | 5 |  |  | - Chamfering tool | [56 empty] | 0 | [21 empty] | 0
928246 | 125/25 x 3/4" f | 5 |  |  | Art. No. 50910, 50912, 50914 | [56 empty] | 0 | [21 empty] | 0
928250 | 160/25 x 3/4" f | 5 |  |  | (only for stabi-composite (MS) pipes) | [56 empty] | 0 | [21 empty] | 0
928254 | 200-250/25 x 3/4" f | 5 | [59 empty] | 0 | [21 empty] | 0
928260 | 75/32 x 1" f | 5 | [60 empty] | 0 | [21 empty] | 0
928262 | 90/32 x 1" f | 5 |  |  |  | 1" f is with hexagon transition | [56 empty] | 0 | [21 empty] | 0
928264 | 110/32 x 1" f | 5 | [60 empty] | 0 | [21 empty] | 0
928266 | 125/32 x 1" f | 5 | [60 empty] | 0 | [21 empty] | 0
928270 | 160/32 x 1" f | 5 | [60 empty] | 0 | [21 empty] | 0
928274 | 200-250/32 x 1" f | 5 | [60 empty] | 0 | [21 empty] | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
aquatherm Australia Pty Ltd
The Professional Plumbers Alternative
www.aquatherm.com.au
aquatherm@aquatherm.com.au
T: (02) 9774 1172
fax: (02) 9774 3619
Note on D2: Copied from sheet "Labour Calculation"
Note on K31: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K32: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K33: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K34: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K35: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K36: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K37: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K38: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K39: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K40: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K41: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K42: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K43: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K44: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K45: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K46: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K51: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K52: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K53: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K54: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K55: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K56: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K57: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K58: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K59: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K60: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K61: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K62: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K63: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K68: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K69: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K70: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K71: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K72: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K73: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K74: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K75: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K76: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K77: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K78: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K79: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K80: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K85: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K86: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K87: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K88: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K89: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K90: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K91: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K92: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K93: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K94: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K95: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K96: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Note on K97: Beware: Pipes [meters] are rounded to 4 mtr lengths (20mm - 125mm) and 5.8 mtr lengths (160mm up).
Material fusiolen PP-R (80)
Pressure stage PN 12.9
acc. DIN 8077/78
Registr.-No. SKZ A 175
Form supplied 4-m straight lengths
5.8-m lengths 160mm up
or * = coiled
Colour green with four
blue stripes
Characteristics:
4 blue stripes
*Supply against order
Material: fusiolen PP-R (80)
Mechanically stabilized
through a fibre mix
integrated in the middle layer
of the fusiolen PP-R
Pressure stage: SDR 7,4 (PN 20)
Registr.-No. SKZ A 314
Form supplied: 4-m straight lengths
5.8-m lengths 160mm up
Colour: green with four
mossgreen stripes
Characteristics:
4 mossgreen stripes
* Supply against order
suitable for sliding and fixed point installation
Material: fusiolen PP-R (80)
Pressure stage: SDR 11 (PN 12.9)
Registr.-No. SKZ A 175
Form supplied: 4-m straight lengths
5.8-m lengths 160mm up
Colour: lilac
with weld-on surface and additional weld-in socket for the fusion wiht the inner pipe wall
The necessary welding tools for
weld-in saddles are described on page 63:
- Welding tools
Art.-No. 50614 - 50640
- Chamfering tools
Art.-No. 50910, 50912, 50914
(necessary for stab-composite (MS)
pipes only!)
- Drill
Art.-No. 50940, 50942, 50944
Material: fusiolen PP-R (80)
Mechanically stabilized through a
fibre mix integrated in the middle
layer of the fusiolen PP-R
Pressure stage: SDR 7,4 (20mm & 25mm)
SDR 11
Registr.-No. SKZ A 314
Form supplied: 4-m straight lengths
5.8-m lengths 160mm up
Colour: blue with 4 green
stripes
Characteristics:
blue with 4 green stripes
** 315 mm - 630mm against order

## Labour Calculation
Installation times according to the German Gustav Ende Norms.
The Gustav Ende Norms are an approximate guideline!
It can be used to compare the processing times of Aquatherm PP-R pipes to those of other pipe systems.
The user of these Gustav Ende Norms ultimately remains responsible for the interpretation of these Gustav Ende Norms.
Aquatherm Pipe Systems Pty Ltd can in no way be held liable for the incorrect interpretation of these calculation data.
The mentioned processing times are "100% Ende".
Depending on the location, where the installation is made (i.e. plant room, shafts, ceilings, under the flooring etc.),
you have to reduce or increase these Gustav Ende Norms with a certain factor.
The Gustav Ende Norms are for the installation of 1 meter pipe, including the labor for 1 pipe clamp and the welding time of 1 socket fusion fitting.
aquatherm green pipe SDR11 S & aquatherm green pipe SDR7.4 MF
aquatherm lilac pipe SDR11
aquatherm blue pipe SDR7.4 MF / SDR11 MF
aquatherm red pipe SDR7.4 MF HI
Only the green cells can be edited
| OD [mm] | Ø20 | Ø25 | Ø32 | Ø40 | Ø50 | Ø63 | Ø75 | Ø90 | Ø110 | Ø125
| min/m* | 10 | 12 | 14 | 16 | 18 | 20 | 25 | 32 | 43 | 58
| Pipe length [m] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
* The above processing times [min/m] are for an experienced technician and for 1 person!
| When the processing is done by a technician and an assistant, the above processing times can be decreased by 40% | [7 empty] | Total labor per person: |  | 0 | minutes
| For example: Ø20 pipe: 10 minutes x 0.6 = 6 minutes per person. | [9 empty] | 0 | hours
|  |  | Project: |  | Example
Labour time specified in man minutes (not team minutes)
Select your own processing times [min]
Pipe | min/mtr | QTY | Total |  | Socket | min per | QTY | Total |  | Butt Weld | min per | QTY | Total
|  |  | min. |  | Fusion | joint |  | min. |  | SDR11 | joint |  | min.
ø20 | 0 | 0 | 0 |  | ø20 | 0 | 0 | 0 |  | Ø160 | 0 | 0 | 0
ø25 | 0 | 0 | 0 |  | ø25 | 0 | 0 | 0 |  | Ø200 | 0 | 0 | 0
ø32 | 0 | 0 | 0 |  | ø32 | 0 | 0 | 0 |  | Ø250 | 0 | 0 | 0
ø40 | 0 | 0 | 0 |  | ø40 | 0 | 0 | 0 |  |  |  | Total min. | 0
ø50 | 0 | 0 | 0 |  | ø50 | 0 | 0 | 0 |  |  |  | Total hour | 0
ø63 | 0 | 0 | 0 |  | ø63 | 0 | 0 | 0
ø75 | 0 | 0 | 0 |  | ø75 | 0 | 0 | 0
ø90 | 0 | 0 | 0 |  | ø90 | 0 | 0 | 0 |  | Butt Weld | min per | QTY | Total
ø110 | 0 | 0 | 0 |  | ø110 | 0 | 0 | 0 |  | SDR7.4 | joint |  | min.
ø125 | 0 | 0 | 0 |  | ø125 | 0 | 0 | 0 |  | Ø160 | 0 | 0 | 0
ø160 | 0 | 0 | 0 |  |  |  | Total min. | 0 |  | Ø200 | 0 | 0 | 0
ø200 | 0 | 0 | 0 |  |  |  | Total hour | 0 |  | Ø250 | 0 | 0 | 0
ø250 | 0 | 0 | 0 | [8 empty] | Total min. | 0
|  | Total min. | 0 | [8 empty] | Total hour | 0
|  | Total hour | 0
Threaded | min per | QTY | Total | [6 empty] | Electrofusion | min per | QTY | Total
connection | threaded connection |  | min. | [6 empty] | Socket | socket |  | min.
1/2" | 0 | 0 | 0 | [6 empty] | ø20 | 0 | 0 | 0
3/4" | 0 | 0 | 0 | [6 empty] | ø25 | 0 | 0 | 0
1" | 0 | 0 | 0 | [6 empty] | ø32 | 0 | 0 | 0
1.1/4" | 0 | 0 | 0 | [6 empty] | ø40 | 0 | 0 | 0
1.1/2" | 0 | 0 | 0 | [6 empty] | ø50 | 0 | 0 | 0
2" | 0 | 0 | 0 | [6 empty] | ø63 | 0 | 0 | 0
2.1/4" | 0 | 0 | 0 | [6 empty] | ø75 | 0 | 0 | 0
2.1/2" | 0 | 0 | 0 | [6 empty] | ø90 | 0 | 0 | 0
2.3/4" | 0 | 0 | 0 | [6 empty] | ø110 | 0 | 0 | 0
3" | 0 | 0 | 0 | [6 empty] | ø125 | 0 | 0 | 0
3.1/2" | 0 | 0 | 0 | [6 empty] | ø160 | 0 | 0 | 0
4" | 0 | 0 | 0 | [8 empty] | Total min. | 0
|  | Total min. | 0 | [8 empty] | Total hour | 0
|  | Total hour | 0
Flanged | min per | QTY | Total | [6 empty] | Clips | min. per | QTY | Total
connection | flange |  | min. | [7 empty] | clip |  | min.
Ø32 (DN25) Fl | 0 | 0 | 0 | [6 empty] | ø20 | 0 | 0 | 0
Ø40 (DN32) Fl | 0 | 0 | 0 | [6 empty] | ø25 | 0 | 0 | 0
Ø50 (DN40) Fl | 0 | 0 | 0 | [6 empty] | ø32 | 0 | 0 | 0
Ø63 (DN25) Fl | 0 | 0 | 0 | [6 empty] | ø40 | 0 | 0 | 0
Ø75 (DN65) Fl | 0 | 0 | 0 | [6 empty] | ø50 | 0 | 0 | 0
Ø90 (DN80) Fl | 0 | 0 | 0 | [6 empty] | ø63 | 0 | 0 | 0
Ø110 (DN100) Fl | 0 | 0 | 0 | [6 empty] | ø75 | 0 | 0 | 0
Ø125 (DN125) Fl | 0 | 0 | 0 | [6 empty] | ø90 | 0 | 0 | 0
Ø160 (DN150) Fl | 0 | 0 | 0 | [6 empty] | ø110 | 0 | 0 | 0
Ø200 (DN200) Fl | 0 | 0 | 0 | [6 empty] | ø125 | 0 | 0 | 0
Ø250 (DN250) Fl | 0 | 0 | 0 | [6 empty] | ø160 | 0 | 0 | 0
|  | Total min. | 0 | [6 empty] | ø200 | 0 | 0 | 0
|  | Total hour | 0 | [6 empty] | ø250 | 0 | 0 | 0
[12 empty] | Total min. | 0
Weld in | min per | QTY | Total | [8 empty] | Total hour | 0
Saddle | Weld in Saddle |  | min.
Ø20 & Ø25 | 0 | 0 | 0
Ø32 | 0 | 0 | 0 |  | Group |  | Total
Ø40 | 0 | 0 | 0 |  |  |  | hours
Ø50 | 0 | 0 | 0 |  | Pipes |  | 0
Ø63 | 0 | 0 | 0 |  | Socket Fusion joints |  | 0
|  | Total min. | 0 |  | Butt Welded SDR11 joints |  | 0
|  | Total hour | 0 |  | Butt Welded SDR7.4 joints |  | 0
[5 empty] | Electrofusion Sockets |  | 0 |  |  |  | Man labour
[5 empty] | Threaded Connections |  | 0 |  |  |  | in $
[5 empty] | Flanged Connections |  | 0 |  |  | Wage $ / hour | 50
[5 empty] | Weld in Saddles |  | 0 |  |  | Total $ | 0
[5 empty] | Clips |  | 0
[5 empty] | Total (1 man) hours |  | 0
The user of these calculation norms ultimately remains responsible for the interpretation of these Norms.
Aquatherm Pipe Systems Pty Ltd can in no way be held liable for the incorrect interpretation of these calculation data.
aquatherm Pipe Systems
The Professional Plumbers Alternative
www.aquatherm.com.au
aquatherm@aquatherm.com.au
T: (02) 9774 1172
fax: (02) 9774 3619
Note on G32: Copied from sheet "Pipes and fittings"
Note on C38: Free choice. Handling time, i.e. measuring, cutting and moving of pipe.
Note on H38: Free choice.
Note on M38: Free choice.
Note on M47: Free choice.
Note on C56: Free choice.
Note on M56: Free choice. (incl. peeling and cleaning of 2 pipe ends)
Note on C73: Free choice. excl. time for socket fusion or butt weld flange adapter. Only installation time for backing ring and gasket.
Note on M73: Free choice.
Note on C89: Free choice. (including drilling of pipe, excl. joint of the socket or thread connection)
Note on L100: Free choice.

## Tools required
aquatherm Australia Pty Limited
Ecological pipe systems: just say yes to a better world!
Project: | Example
Required Aquatherm tools for above project
Pipe Cutter
Art.-No. | Dimension | Packing unit
50104 | 16-40mm | 1 | 0
50105 | 50-125mm | 1 | 0
Welding Device (800 W)
(hand operated - welding tools are not included)
Art.-No. | Dimension | Packing unit
50337 | 20-63mm | 1 | 0
Welding Device (1400 W)
(hand operated - welding tools not included)
Art.-No. | Dimension | Packing unit
50341 | 50-125mm | 1 | 0
Welding Machine (1400 W)
(including welding tools 50-125mm and extra welding device 1400 W)
Art.-No. | Dimension | Packing unit
50147 | 50-125mm | 1 | 0
Electric Welding Jig
(including standby accumulator, charging station and metal case)
(excluding welding device, welding tools and standard)
Art.-No. | Dimension | Packing unit
50149 | 63-125mm | 1 | 0
Electrofusion Device
Art.-No. | Dimension | Packing unit
50175 | 20-160mm | 1 | 0
Butt Welding Machine
(160mm - 250mm)
Art.-No. | Dimension | Packing unit
50163 | 160-250mm | 1 | 0
Welding Tools
Art.-No. | Dimension | Packing unit
50208 | 20mm | 1 | 0
50210 | 25mm | 1 | 0
50212 | 32mm | 1 | 0
50214 | 40mm | 1 | 0
50216 | 50mm | 1 | 0
50218 | 63mm | 1 | 0
50220 | 75mm | 1 | 0
50222 | 90mm | 1 | 0
50224 | 110mm | 1 | 0
50226 | 125mm | 1 | 0
Peeling Tool for Electrofusion Sockets
(for aquatherm green pipe (MF) and aquatherm blue pipe (MF) )
(NOT for aquatherm green pipe MS ("Stabi"), aquatherm green or blue pipe MF UV and aquatherm blue pipe MF OT)
Art.-No. | Dimension | Packing unit
50558 | 20mm | 1 | 0
50560 | 25mm | 1 | 0
50562 | 32mm | 1 | 0
50564 | 40mm | 1 | 0
50566 | 50mm | 1 | 0
50568 | 63mm | 1 | 0
50570 | 75mm | 1 | 0
50572 | 90mm | 1 | 0
50574 | 110mm | 1 | 0
50576 | 125mm | 1 | 0
50580 | 160mm | 1 | 0
Saddle Welding Tool
Art.-No. | Dimension | Packing unit
50614 | 40x20/25mm | 1 | 0 | #VALUE!
50616 | 50x20/25mm | 1 | 0 | #VALUE!
50619 | 63x20/25mm | 1 | 0 | #VALUE!
50620 | 63x32mm | 1 | 0 | #VALUE!
50623 | 75x20/25mm | 1 | 0 | #VALUE!
50624 | 75x32mm | 1 | 0 | #VALUE!
50625 | 75x40mm | 1 | 0 | #VALUE!
50627 | 90x20/25mm | 1 | 0 | #VALUE!
50628 | 90x32mm | 1 | 0 | #VALUE!
50629 | 90x40mm | 1 | 0 | #VALUE!
50631 | 110x20/25mm | 1 | 0 | #VALUE!
50632 | 110x32mm | 1 | 0 | #VALUE!
50634 | 110x40mm | 1 | 0 | #VALUE!
50635 | 110x50mm | 1 | 0 | #VALUE!
50636 | 125x20/25mm | 1 | 0 | #VALUE!
50638 | 125x32mm | 1 | 0 | #VALUE!
50640 | 125x40mm | 1 | 0 | #VALUE!
50642 | 125x50mm | 1 | 0 | #VALUE!
50644 | 125x63mm | 1 | 0 | #VALUE!
50648 | 160x20/25mm | 1 | 0 | #VALUE!
50650 | 160x32mm | 1 | 0 | #VALUE!
50652 | 160x40mm | 1 | 0 | #VALUE!
50654 | 160x50mm | 1 | 0 | #VALUE!
50656 | 160x63mm | 1 | 0 | #VALUE!
50660 | 200x20/25mm | 1 | 0 | #VALUE!
50662 | 200x32mm | 1 | 0 | #VALUE!
50664 | 200x40mm | 1 | 0 | #VALUE!
50666 | 200x50mm | 1 | 0 | #VALUE!
50668 | 200x63mm | 1 | 0 | #VALUE!
Drill for Weld-in Saddles
Art.-No. | Dimension | Packing unit
50940 | 20 & 25mm (40-160mm) | 1 | 0 | #VALUE!
50941 | 20 & 25mm (63-250mm) | 1 | 0 | #VALUE!
50942 | 32mm | 1 | 0
50944 | 40mm | 1 | 0
50946 | 50mm* | 1 | 0
50948 | 63mm* | 1 | 0
* May only be used in fixed drilling machines
aquatherm Australia Pty Ltd
The Professional Plumbers Alternative
www.aquatherm.com.au
aquatherm@aquatherm.com.au
T: (02) 9774 1172
fax: (02) 9774 3619